{"text_format":"1","workbook":"xlsx","n_sheets":2,"sheets":["Delta-U-Werte","Grundwerte"],"not_rendered":{"charts":11,"images":3,"macros":1,"external_links":0,"defined_names":3,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Delta-U-Werte","index":0,"n_rows":26,"n_cols":7,"rows_kept":26,"cut":false,"hidden":false,"merged":[[25,0,27,2],[25,3,27,16],[0,1,0,12],[1,1,1,15],[20,3,22,4],[20,5,22,6],[20,1,22,2]]}
[null,"Fachvereinigung Deutscher Betonfertigteilbau e. V.\nin Kooperation mit HALFEN GmbH"]
[null," Ermittlung des Zuschlags ∆U zum Wärmedurchgangskoeffizienten für vorgehängte Fassadenplatten"]
[null,null,"Dämmung"]
[]
[null,null,"Dämmstärke",null,"d =",null,"mm"]
[]
[null,null,"Wandabstand",null,"a =",{"$f":"IF(Grundwerte!C118=1,120,IF(Grundwerte!C118=2,140,IF(Grundwerte!C118=3,160,IF(Grundwerte!C118=4,180,IF(Grundwerte!C118=5,200,IF(Grundwerte!C118=6,220,IF(Grundwerte!C118=7,240,IF(Grundwerte!C118=8,260,IF(Grundwerte!C118=9,280,300)))))))))","v":180},"mm"]
[null,null," (= Dämmstärke plus 40 mm Abstand)"]
[]
[null,null,"Wärmeleitfähigkeitsgruppe (WLG)",null,"l =",null,"W/mK"]
[]
[null,null,"Fassadenplatte"]
[]
[null,null,"Plattendicke",null,"f =",null,"mm"]
[]
[null,null,"Maximale Plattenlänge",null,"L =",{"$f":"IF(Grundwerte!F113=1,4,IF(Grundwerte!F113=2,5.5,IF(Grundwerte!F113=3,6.5,IF(Grundwerte!F113=4,7.5,8))))","v":4},"m"]
[]
[null,null,"Mittlere Plattenfläche",null,"A =",null,"m²"]
[]
[null,null,"Zuschlag zum Wärmedurchgangskoeffizienten"]
[null,"DU =",null,{"$f":"Grundwerte!I109","v":7.6999999999999994E-3},null,"W/m²K"]
[]
[]
[]
[]
["Firma",null,null,"Max Mustermann\nMusterstraße 1\n12345 Musterstadt"]

{"sheet":"Grundwerte","index":1,"n_rows":140,"n_cols":27,"rows_kept":140,"cut":false,"hidden":true,"merged":[[84,0,103,0],[44,0,63,0],[64,0,83,0],[24,0,43,0],[1,7,1,26],[1,2,2,2],[1,3,2,4],[1,5,2,6],[1,0,23,0]]}
[]
["Plattendicke 80 mm\n(Max. Plattenlänge 4 m)",null,"Wandabstand","Dämmstärke",null,"Wärmeleitgruppe",null,"Durchschnitliche Fläche der Platte"]
[null,null,null,null,null,null,null,"A = 1 m²","A = 2 m²","A = 3 m²","A = 4 m²","A = 5 m²","A = 6 m²","A = 7 m²","A = 8 m²","A = 9 m²","A = 10 m²","A = 11 m²","A = 12 m²","A = 13 m²","A = 14 m²","A = 15 m²","A = 16 m²","A = 17 m²","A = 18 m²","A = 19 m²","A = 20 m²"]
[null,null,"WA [mm]","d [mm]",null,"λ [W/mK]",null,1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20]
[null,1,{"$f":"D5+40","v":120},80,1,3.5000000000000003E-2,1,7.3700000000000002E-2,3.6850000000000001E-2,2.4566666666666667E-2,1.8425E-2,1.474E-2,1.34E-2,1.1485714285714287E-2,1.005E-2,1.0422222222222222E-2,9.3799999999999994E-3,8.5272727272727271E-3,8.7100000000000007E-3,8.0400000000000003E-3,7.4657142857142856E-3,6.9680000000000002E-3,9.2125000000000002E-3,1E-4,1E-4,1E-4,1E-4]
[null,1,{"$f":"D6+40","v":140},100,2,3.5000000000000003E-2,1,6.2149999999999997E-2,3.1074999999999998E-2,2.0716666666666668E-2,1.5537499999999999E-2,1.243E-2,1.1300000000000001E-2,9.6857142857142853E-3,8.4749999999999999E-3,8.7888888888888878E-3,7.9100000000000004E-3,7.1909090909090907E-3,7.3450000000000008E-3,6.7799999999999996E-3,6.2957142857142864E-3,8.2866666666666661E-3,7.7687499999999996E-3,1E-4,1E-4,1E-4,1E-4]
[null,1,160,120,3,3.5000000000000003E-2,1,5.3349999999999995E-2,2.6674999999999997E-2,1.7783333333333332E-2,1.3337499999999999E-2,1.0669999999999999E-2,9.7000000000000003E-3,8.3142857142857133E-3,7.2750000000000002E-3,7.5444444444444439E-3,6.79E-3,6.1727272727272724E-3,8.8916666666666675E-3,8.2076923076923082E-3,7.6214285714285724E-3,7.1133333333333344E-3,6.6687500000000011E-3,1E-4,1E-4,1E-4,1E-4]
[null,1,180,140,4,3.5000000000000003E-2,1,7.3079999999999992E-2,3.6539999999999996E-2,2.4359999999999996E-2,1.8269999999999998E-2,1.4616000000000001E-2,1.2879999999999999E-2,1.1039999999999998E-2,9.6599999999999984E-3,9.5199999999999989E-3,8.5679999999999992E-3,7.7890909090909087E-3,7.6999999999999994E-3,7.1076923076923079E-3,6.6E-3,6.1599999999999997E-3,5.7749999999999998E-3,1E-4,1E-4,1E-4,1E-4]
[null,1,200,160,5,3.5000000000000003E-2,1,6.5250000000000002E-2,3.2625000000000001E-2,2.1749999999999999E-2,1.6312500000000001E-2,1.3049999999999999E-2,1.1499999999999998E-2,9.857142857142856E-3,8.624999999999999E-3,8.4999999999999989E-3,7.6499999999999988E-3,6.9545454545454546E-3,6.8749999999999992E-3,6.3461538461538469E-3,5.8928571428571424E-3,5.4999999999999997E-3,5.1562499999999994E-3,1E-4,1E-4,1E-4,1E-4]
[null,1,220,180,6,3.5000000000000003E-2,1,5.9159999999999997E-2,2.9579999999999999E-2,1.9719999999999998E-2,1.4789999999999999E-2,1.1831999999999999E-2,1.0426666666666666E-2,8.9371428571428553E-3,7.8199999999999988E-3,7.7066666666666664E-3,6.9359999999999995E-3,6.3054545454545446E-3,6.2333333333333329E-3,5.7538461538461528E-3,5.3428571428571422E-3,4.9866666666666662E-3,4.6749999999999995E-3,1E-4,1E-4,1E-4,1E-4]
[null,1,240,200,7,3.5000000000000003E-2,1,5.3070000000000006E-2,2.6535000000000003E-2,1.7690000000000001E-2,1.3267500000000002E-2,1.0614000000000002E-2,9.3533333333333333E-3,8.0171428571428581E-3,7.0150000000000004E-3,6.9133333333333338E-3,6.222000000000001E-3,5.6563636363636365E-3,5.5916666666666667E-3,5.1615384615384622E-3,4.792857142857143E-3,4.4733333333333344E-3,4.1937500000000004E-3,1E-4,1E-4,1E-4,1E-4]
[null,1,260,220,8,3.5000000000000003E-2,1,8.2320000000000004E-2,4.1160000000000002E-2,2.7440000000000003E-2,2.0580000000000001E-2,1.6464000000000003E-2,1.4186666666666667E-2,1.2160000000000001E-2,1.064E-2,1.0080000000000002E-2,9.0720000000000002E-3,8.2472727272727281E-3,7.9333333333333339E-3,7.3230769230769235E-3,6.8000000000000005E-3,6.3466666666666671E-3,5.9500000000000004E-3,1E-4,1E-4,1E-4,1E-4]
[null,1,280,240,9,3.5000000000000003E-2,1,7.6439999999999994E-2,3.8219999999999997E-2,2.5479999999999996E-2,1.9109999999999999E-2,1.5288E-2,1.3173333333333332E-2,1.129142857142857E-2,9.8799999999999999E-3,9.3599999999999985E-3,8.4239999999999992E-3,7.6581818181818175E-3,7.3666666666666655E-3,6.7999999999999996E-3,6.3142857142857133E-3,5.8933333333333329E-3,5.5249999999999995E-3,1E-4,1E-4,1E-4,1E-4]
[null,1,300,260,10,3.5000000000000003E-2,1,7.1294999999999997E-2,3.5647499999999999E-2,2.3765000000000001E-2,1.7823749999999999E-2,1.4258999999999999E-2,1.2286666666666668E-2,1.0531428571428572E-2,9.215000000000001E-3,8.7299999999999999E-3,7.8569999999999994E-3,7.1427272727272728E-3,6.8708333333333338E-3,6.3423076923076922E-3,5.889285714285715E-3,5.4966666666666671E-3,5.1531250000000006E-3,1E-4,1E-4,1E-4,1E-4]
[null,1,{"$f":"D15+40","v":120},80,1,0.04,2,7.1499999999999994E-2,3.5749999999999997E-2,2.3833333333333331E-2,1.7874999999999999E-2,1.43E-2,1.3000000000000001E-2,1.1142857142857142E-2,9.75E-3,1.0111111111111111E-2,9.1000000000000004E-3,8.2727272727272719E-3,8.4500000000000009E-3,7.8000000000000005E-3,7.2428571428571429E-3,6.7600000000000004E-3,8.9374999999999993E-3,1E-4,1E-4,1E-4,1E-4]
[null,1,{"$f":"D16+40","v":140},100,2,0.04,2,5.9950000000000003E-2,2.9975000000000002E-2,1.9983333333333336E-2,1.4987500000000001E-2,1.1990000000000001E-2,1.09E-2,9.3428571428571423E-3,8.175E-3,8.4777777777777785E-3,7.6299999999999996E-3,6.9363636363636363E-3,7.085000000000001E-3,6.5400000000000007E-3,6.0728571428571429E-3,7.9933333333333332E-3,7.4937499999999995E-3,1E-4,1E-4,1E-4,1E-4]
[null,1,160,120,3,0.04,2,5.1700000000000003E-2,2.5850000000000001E-2,1.7233333333333333E-2,1.2925000000000001E-2,1.034E-2,9.4000000000000004E-3,8.0571428571428565E-3,7.0500000000000007E-3,7.311111111111112E-3,6.5800000000000008E-3,5.9818181818181819E-3,8.6166666666666666E-3,7.9538461538461551E-3,7.3857142857142854E-3,6.8933333333333346E-3,6.4625000000000004E-3,1E-4,1E-4,1E-4,1E-4]
[null,1,180,140,4,0.04,2,7.2209999999999996E-2,3.6104999999999998E-2,2.4069999999999998E-2,1.8052499999999999E-2,1.4442E-2,1.2726666666666666E-2,1.0908571428571427E-2,9.5449999999999997E-3,9.4066666666666673E-3,8.4659999999999996E-3,7.6963636363636357E-3,7.6083333333333333E-3,7.0230769230769227E-3,6.5214285714285712E-3,6.0866666666666664E-3,5.7062499999999995E-3,1E-4,1E-4,1E-4,1E-4]
[null,1,200,160,5,0.04,2,6.4380000000000007E-2,3.2190000000000003E-2,2.146E-2,1.6095000000000002E-2,1.2876E-2,1.1346666666666668E-2,9.7257142857142855E-3,8.5100000000000002E-3,8.3866666666666673E-3,7.548E-3,6.8618181818181825E-3,6.7833333333333339E-3,6.2615384615384625E-3,5.8142857142857145E-3,5.4266666666666664E-3,5.0875E-3,1E-4,1E-4,1E-4,1E-4]
[null,1,220,180,6,0.04,2,5.8290000000000002E-2,2.9145000000000001E-2,1.9430000000000003E-2,1.45725E-2,1.1658E-2,1.0273333333333334E-2,8.8057142857142865E-3,7.705E-3,7.5933333333333339E-3,6.8339999999999998E-3,6.2127272727272734E-3,6.1416666666666668E-3,5.6692307692307693E-3,5.2642857142857144E-3,4.9133333333333338E-3,4.6062500000000001E-3,1E-4,1E-4,1E-4,1E-4]
[null,1,240,200,7,0.04,2,5.2200000000000003E-2,2.6100000000000002E-2,1.7400000000000002E-2,1.3050000000000001E-2,1.0440000000000001E-2,9.1999999999999998E-3,7.8857142857142858E-3,6.8999999999999999E-3,6.8000000000000005E-3,6.1200000000000004E-3,5.5636363636363644E-3,5.4999999999999997E-3,5.076923076923077E-3,4.7142857142857143E-3,4.4000000000000003E-3,4.1250000000000002E-3,1E-4,1E-4,1E-4,1E-4]
[null,1,260,220,8,0.04,2,8.0850000000000005E-2,4.0425000000000003E-2,2.6950000000000002E-2,2.0212500000000001E-2,1.617E-2,1.3933333333333332E-2,1.1942857142857144E-2,1.0450000000000001E-2,9.9000000000000008E-3,8.9099999999999995E-3,8.0999999999999996E-3,7.7916666666666664E-3,7.1923076923076923E-3,6.6785714285714295E-3,6.2333333333333329E-3,5.84375E-3,1E-4,1E-4,1E-4,1E-4]
[null,1,280,240,9,0.04,2,7.4970000000000009E-2,3.7485000000000004E-2,2.4990000000000002E-2,1.8742500000000002E-2,1.4994000000000002E-2,1.2920000000000001E-2,1.1074285714285715E-2,9.6900000000000007E-3,9.1800000000000007E-3,8.2620000000000002E-3,7.5109090909090915E-3,7.2250000000000005E-3,6.6692307692307693E-3,6.1928571428571432E-3,5.7800000000000004E-3,5.41875E-3,1E-4,1E-4,1E-4,1E-4]
[null,1,300,260,10,0.04,2,7.0559999999999998E-2,3.5279999999999999E-2,2.3519999999999999E-2,1.7639999999999999E-2,1.4111999999999998E-2,1.2159999999999999E-2,1.0422857142857142E-2,9.1199999999999996E-3,8.6399999999999984E-3,7.7759999999999991E-3,7.0690909090909086E-3,6.7999999999999996E-3,6.2769230769230766E-3,5.8285714285714278E-3,5.4399999999999995E-3,5.0999999999999995E-3,1E-4,1E-4,1E-4,1E-4]
["Plattendicke 100 mm\n(Max. Plattenlänge 5,5 m)",2,{"$f":"D25+40","v":120},80,1,3.5000000000000003E-2,1,7.3700000000000002E-2,3.6850000000000001E-2,2.4566666666666667E-2,1.8425E-2,1.6080000000000001E-2,1.34E-2,1.34E-2,1.1725000000000001E-2,1.0422222222222222E-2,1.0451999999999999E-2,9.5018181818181825E-3,8.7100000000000007E-3,8.452307692307693E-3,7.8485714285714287E-3,1.0184000000000002E-2,9.5475000000000004E-3,8.9858823529411769E-3,1.0124444444444445E-2,9.5915789473684215E-3,9.1120000000000003E-3]
[null,2,{"$f":"D26+40","v":140},100,2,3.5000000000000003E-2,1,6.2149999999999997E-2,3.1074999999999998E-2,2.0716666666666668E-2,1.5537499999999999E-2,1.3560000000000001E-2,1.1300000000000001E-2,1.1299999999999999E-2,9.8875000000000005E-3,8.7888888888888878E-3,8.8140000000000007E-3,8.0127272727272721E-3,7.3450000000000008E-3,7.1276923076923071E-3,9.2014285714285705E-3,8.5879999999999984E-3,8.0512499999999994E-3,7.5776470588235292E-3,8.5377777777777761E-3,8.0884210526315781E-3,7.683999999999999E-3]
[null,2,160,120,3,3.5000000000000003E-2,1,5.3349999999999995E-2,2.6674999999999997E-2,1.7783333333333332E-2,1.3337499999999999E-2,1.1639999999999999E-2,9.7000000000000003E-3,9.7000000000000003E-3,8.4875000000000003E-3,7.5444444444444439E-3,7.5659999999999998E-3,9.7000000000000003E-3,8.8916666666666675E-3,8.5061538461538473E-3,7.8985714285714284E-3,7.3720000000000001E-3,6.9112500000000007E-3,6.504705882352942E-3,7.3288888888888891E-3,6.9431578947368429E-3,6.5960000000000003E-3]
[null,2,180,140,4,3.5000000000000003E-2,1,7.3079999999999992E-2,3.6539999999999996E-2,2.4359999999999996E-2,1.8269999999999998E-2,1.5455999999999999E-2,1.2879999999999999E-2,1.2239999999999997E-2,1.0709999999999999E-2,9.5199999999999989E-3,9.2399999999999999E-3,8.3999999999999995E-3,7.6999999999999994E-3,7.3661538461538452E-3,6.8399999999999989E-3,6.3839999999999991E-3,5.984999999999999E-3,5.6329411764705871E-3,6.3466666666666663E-3,6.0126315789473684E-3,5.7120000000000001E-3]
[null,2,200,160,5,3.5000000000000003E-2,1,6.5250000000000002E-2,3.2625000000000001E-2,2.1749999999999999E-2,1.6312500000000001E-2,1.38E-2,1.1499999999999998E-2,1.0928571428571428E-2,9.5624999999999998E-3,8.4999999999999989E-3,8.2500000000000004E-3,7.4999999999999997E-3,6.8749999999999992E-3,6.5769230769230766E-3,6.1071428571428561E-3,5.6999999999999993E-3,5.3437499999999995E-3,5.0294117647058812E-3,5.6666666666666662E-3,5.3684210526315787E-3,5.0999999999999995E-3]
[null,2,220,180,6,3.5000000000000003E-2,1,5.9159999999999997E-2,2.9579999999999999E-2,1.9719999999999998E-2,1.4789999999999999E-2,1.2511999999999999E-2,1.0426666666666666E-2,9.908571428571428E-3,8.6699999999999989E-3,7.7066666666666664E-3,7.4799999999999997E-3,6.7999999999999996E-3,6.2333333333333329E-3,5.9630769230769216E-3,5.5371428571428568E-3,5.167999999999999E-3,4.8449999999999995E-3,4.5599999999999998E-3,5.1377777777777776E-3,4.8673684210526315E-3,6.6639999999999998E-3]
[null,2,240,200,7,3.5000000000000003E-2,1,5.3070000000000006E-2,2.6535000000000003E-2,1.7690000000000001E-2,1.3267500000000002E-2,1.1224000000000001E-2,9.3533333333333333E-3,8.8885714285714297E-3,7.7775000000000006E-3,6.9133333333333338E-3,6.7100000000000007E-3,6.1000000000000013E-3,5.5916666666666667E-3,5.3492307692307693E-3,4.9671428571428575E-3,4.6360000000000004E-3,4.3462500000000003E-3,4.0905882352941176E-3,6.642222222222223E-3,6.2926315789473691E-3,5.9780000000000007E-3]
[null,2,260,220,8,3.5000000000000003E-2,1,8.2320000000000004E-2,4.1160000000000002E-2,2.7440000000000003E-2,2.0580000000000001E-2,1.7024000000000001E-2,1.4186666666666667E-2,1.2960000000000001E-2,1.1340000000000001E-2,1.0080000000000002E-2,9.5200000000000007E-3,8.6545454545454547E-3,7.9333333333333339E-3,7.4953846153846156E-3,6.96E-3,6.496E-3,6.0899999999999999E-3,5.7317647058823529E-3,6.0977777777777784E-3,5.7768421052631583E-3,5.4879999999999998E-3]
[null,2,280,240,9,3.5000000000000003E-2,1,7.6439999999999994E-2,3.8219999999999997E-2,2.5479999999999996E-2,1.9109999999999999E-2,1.5807999999999999E-2,1.3173333333333332E-2,1.2034285714285713E-2,1.0529999999999999E-2,9.3599999999999985E-3,8.8399999999999989E-3,8.0363636363636366E-3,7.3666666666666655E-3,6.9599999999999992E-3,6.4628571428571417E-3,6.0319999999999992E-3,5.6549999999999994E-3,5.3223529411764699E-3,5.6622222222222213E-3,5.364210526315789E-3,5.0959999999999998E-3]
[null,2,300,260,10,3.5000000000000003E-2,1,7.1294999999999997E-2,3.5647499999999999E-2,2.3765000000000001E-2,1.7823749999999999E-2,1.4744E-2,1.2286666666666668E-2,1.1224285714285714E-2,9.8212500000000001E-3,8.7299999999999999E-3,8.2450000000000006E-3,7.4954545454545456E-3,6.8708333333333338E-3,6.4915384615384618E-3,6.027857142857143E-3,5.6260000000000008E-3,5.2743750000000004E-3,4.9641176470588237E-3,5.2811111111111114E-3,5.0031578947368422E-3,4.7530000000000003E-3]
[null,2,{"$f":"D35+40","v":120},80,1,0.04,2,7.1499999999999994E-2,3.5749999999999997E-2,2.3833333333333331E-2,1.7874999999999999E-2,1.5599999999999999E-2,1.3000000000000001E-2,1.3000000000000001E-2,1.1375E-2,1.0111111111111111E-2,1.014E-2,9.2181818181818181E-3,8.4500000000000009E-3,8.199999999999999E-3,7.6142857142857141E-3,9.8799999999999999E-3,9.2624999999999999E-3,8.7176470588235279E-3,9.8222222222222218E-3,9.3052631578947366E-3,8.8399999999999989E-3]
[null,2,{"$f":"D36+40","v":140},100,2,0.04,2,5.9950000000000003E-2,2.9975000000000002E-2,1.9983333333333336E-2,1.4987500000000001E-2,1.3080000000000001E-2,1.09E-2,1.09E-2,9.5375000000000008E-3,8.4777777777777785E-3,8.5020000000000009E-3,7.7290909090909094E-3,7.085000000000001E-3,6.8753846153846157E-3,8.8757142857142854E-3,8.2839999999999997E-3,7.7662499999999988E-3,7.309411764705882E-3,8.235555555555555E-3,7.8021052631578941E-3,7.4119999999999993E-3]
[null,2,160,120,3,0.04,2,5.1700000000000003E-2,2.5850000000000001E-2,1.7233333333333333E-2,1.2925000000000001E-2,1.1280000000000002E-2,9.4000000000000004E-3,9.4000000000000004E-3,8.2249999999999997E-3,7.311111111111112E-3,7.332E-3,9.4000000000000004E-3,8.6166666666666666E-3,8.2430769230769241E-3,7.6542857142857142E-3,7.144000000000001E-3,6.6975000000000003E-3,6.3035294117647061E-3,7.1022222222222224E-3,6.7284210526315797E-3,6.3920000000000001E-3]
[null,2,180,140,4,0.04,2,7.2209999999999996E-2,3.6104999999999998E-2,2.4069999999999998E-2,1.8052499999999999E-2,1.5271999999999999E-2,1.2726666666666666E-2,1.2094285714285714E-2,1.05825E-2,9.4066666666666673E-3,9.1299999999999992E-3,8.3000000000000001E-3,7.6083333333333333E-3,7.2784615384615375E-3,6.758571428571428E-3,6.3079999999999994E-3,5.9137499999999997E-3,5.5658823529411766E-3,6.271111111111111E-3,5.9410526315789467E-3,5.6439999999999997E-3]
[null,2,200,160,5,0.04,2,6.4380000000000007E-2,3.2190000000000003E-2,2.146E-2,1.6095000000000002E-2,1.3616E-2,1.1346666666666668E-2,1.0782857142857143E-2,9.4350000000000007E-3,8.3866666666666673E-3,8.1400000000000014E-3,7.4000000000000012E-3,6.7833333333333339E-3,6.4892307692307697E-3,6.0257142857142853E-3,5.6240000000000005E-3,5.2725000000000003E-3,4.9623529411764716E-3,5.5911111111111118E-3,5.296842105263158E-3,5.032E-3]
[null,2,220,180,6,0.04,2,5.8290000000000002E-2,2.9145000000000001E-2,1.9430000000000003E-2,1.45725E-2,1.2328E-2,1.0273333333333334E-2,9.7628571428571426E-3,8.5425000000000015E-3,7.5933333333333339E-3,7.3699999999999998E-3,6.7000000000000011E-3,6.1416666666666668E-3,5.8753846153846156E-3,5.455714285714286E-3,5.092000000000001E-3,4.7737500000000002E-3,4.4929411764705884E-3,5.0622222222222223E-3,4.7957894736842107E-3,6.5660000000000007E-3]
[null,2,240,200,7,0.04,2,5.2200000000000003E-2,2.6100000000000002E-2,1.7400000000000002E-2,1.3050000000000001E-2,1.1040000000000001E-2,9.1999999999999998E-3,8.7428571428571425E-3,7.6500000000000005E-3,6.8000000000000005E-3,6.6E-3,6.0000000000000001E-3,5.4999999999999997E-3,5.2615384615384616E-3,4.8857142857142858E-3,4.5599999999999998E-3,4.2750000000000002E-3,4.0235294117647062E-3,6.5333333333333337E-3,6.1894736842105277E-3,5.8800000000000007E-3]
[null,2,260,220,8,0.04,2,8.0850000000000005E-2,4.0425000000000003E-2,2.6950000000000002E-2,2.0212500000000001E-2,1.6719999999999999E-2,1.3933333333333332E-2,1.2728571428571429E-2,1.11375E-2,9.9000000000000008E-3,9.3500000000000007E-3,8.5000000000000006E-3,7.7916666666666664E-3,7.361538461538461E-3,6.8357142857142861E-3,6.3799999999999994E-3,5.9812500000000005E-3,5.6294117647058828E-3,5.9888888888888891E-3,5.673684210526316E-3,5.3899999999999998E-3]
[null,2,280,240,9,0.04,2,7.4970000000000009E-2,3.7485000000000004E-2,2.4990000000000002E-2,1.8742500000000002E-2,1.5504000000000002E-2,1.2920000000000001E-2,1.1802857142857143E-2,1.03275E-2,9.1800000000000007E-3,8.6700000000000006E-3,7.8818181818181825E-3,7.2250000000000005E-3,6.8261538461538464E-3,6.3385714285714287E-3,5.9159999999999994E-3,5.54625E-3,5.2199999999999998E-3,5.5533333333333337E-3,5.2610526315789476E-3,4.9980000000000007E-3]
[null,2,300,260,10,0.04,2,7.0559999999999998E-2,3.5279999999999999E-2,2.3519999999999999E-2,1.7639999999999999E-2,1.4591999999999997E-2,1.2159999999999999E-2,1.1108571428571428E-2,9.7199999999999995E-3,8.6399999999999984E-3,8.1599999999999989E-3,7.4181818181818177E-3,6.7999999999999996E-3,6.4246153846153845E-3,5.9657142857142851E-3,5.568E-3,5.2199999999999989E-3,4.9129411764705878E-3,5.2266666666666659E-3,4.9515789473684206E-3,4.7039999999999998E-3]
["Plattendicke 120 mm\n(Max. Plattenlänge 6,5 m)",3,{"$f":"D45+40","v":120},80,1,3.5000000000000003E-2,1,7.3700000000000002E-2,3.6850000000000001E-2,2.4566666666666667E-2,2.01E-2,1.6080000000000001E-2,1.5633333333333332E-2,1.34E-2,1.3065E-2,1.1613333333333333E-2,1.0451999999999999E-2,9.9890909090909093E-3,9.1566666666666671E-3,8.452307692307693E-3,1.0911428571428572E-2,1.2149333333333335E-2,1.1390000000000001E-2,1.072E-2,1.0124444444444445E-2,9.5915789473684215E-3,9.1120000000000003E-3]
[null,3,{"$f":"D46+40","v":140},100,2,3.5000000000000003E-2,1,6.2149999999999997E-2,3.1074999999999998E-2,2.0716666666666668E-2,1.695E-2,1.3560000000000001E-2,1.3183333333333333E-2,1.1299999999999999E-2,1.10175E-2,9.7933333333333344E-3,8.8140000000000007E-3,8.4236363636363623E-3,7.7216666666666666E-3,9.9092307692307674E-3,9.2014285714285705E-3,1.0245333333333332E-2,9.604999999999999E-3,9.0399999999999994E-3,8.5377777777777761E-3,8.0884210526315781E-3,7.683999999999999E-3]
[null,3,160,120,3,3.5000000000000003E-2,1,5.3349999999999995E-2,2.6674999999999997E-2,1.7783333333333332E-2,1.455E-2,1.1639999999999999E-2,1.1316666666666666E-2,9.7000000000000003E-3,9.4575000000000006E-3,8.4066666666666665E-3,1.0670000000000001E-2,1.0052727272727272E-2,9.215000000000001E-3,8.5061538461538473E-3,7.8985714285714284E-3,8.7946666666666676E-3,8.2450000000000006E-3,7.7600000000000004E-3,7.3288888888888891E-3,6.9431578947368429E-3,6.5960000000000003E-3]
[null,3,180,140,4,3.5000000000000003E-2,1,7.3079999999999992E-2,3.6539999999999996E-2,2.4359999999999996E-2,1.9319999999999997E-2,1.5455999999999999E-2,1.4279999999999998E-2,1.2239999999999997E-2,1.155E-2,1.0266666666666667E-2,9.2399999999999999E-3,8.705454545454544E-3,7.9799999999999992E-3,7.3661538461538452E-3,6.8399999999999989E-3,7.6159999999999995E-3,7.1399999999999996E-3,6.7199999999999994E-3,6.3466666666666663E-3,6.0126315789473684E-3,5.7120000000000001E-3]
[null,3,200,160,5,3.5000000000000003E-2,1,6.5250000000000002E-2,3.2625000000000001E-2,2.1749999999999999E-2,1.7249999999999998E-2,1.38E-2,1.2749999999999997E-2,1.0928571428571428E-2,1.0312499999999999E-2,9.1666666666666667E-3,8.2500000000000004E-3,7.7727272727272723E-3,7.1249999999999994E-3,6.5769230769230766E-3,6.1071428571428561E-3,6.7999999999999996E-3,6.3749999999999996E-3,5.9999999999999993E-3,5.6666666666666662E-3,5.3684210526315787E-3,7.3500000000000006E-3]
[null,3,220,180,6,3.5000000000000003E-2,1,5.9159999999999997E-2,2.9579999999999999E-2,1.9719999999999998E-2,1.5639999999999998E-2,1.2511999999999999E-2,1.1559999999999999E-2,9.908571428571428E-3,9.3499999999999989E-3,8.3111111111111111E-3,7.4799999999999997E-3,7.0472727272727267E-3,6.4599999999999996E-3,5.9630769230769216E-3,5.5371428571428568E-3,6.1653333333333326E-3,5.7799999999999995E-3,5.4399999999999995E-3,7.4044444444444444E-3,7.0147368421052628E-3,6.6639999999999998E-3]
[null,3,240,200,7,3.5000000000000003E-2,1,5.3070000000000006E-2,2.6535000000000003E-2,1.7690000000000001E-2,1.4030000000000001E-2,1.1224000000000001E-2,1.0370000000000001E-2,8.8885714285714297E-3,8.3875000000000009E-3,7.4555555555555555E-3,6.7100000000000007E-3,6.3218181818181819E-3,5.7949999999999998E-3,5.3492307692307693E-3,4.9671428571428575E-3,5.5306666666666672E-3,7.4725000000000008E-3,7.032941176470589E-3,6.642222222222223E-3,6.2926315789473691E-3,5.9780000000000007E-3]
[null,3,260,220,8,3.5000000000000003E-2,1,8.2320000000000004E-2,4.1160000000000002E-2,2.7440000000000003E-2,2.128E-2,1.7024000000000001E-2,1.5120000000000001E-2,1.2960000000000001E-2,1.1900000000000001E-2,1.057777777777778E-2,9.5200000000000007E-3,8.8581818181818189E-3,8.1200000000000005E-3,7.4953846153846156E-3,6.96E-3,7.3173333333333337E-3,6.8599999999999998E-3,6.4564705882352944E-3,6.0977777777777784E-3,5.7768421052631583E-3,5.4879999999999998E-3]
[null,3,280,240,9,3.5000000000000003E-2,1,7.6439999999999994E-2,3.8219999999999997E-2,2.5479999999999996E-2,1.976E-2,1.5807999999999999E-2,1.4039999999999999E-2,1.2034285714285713E-2,1.1049999999999999E-2,9.8222222222222218E-3,8.8399999999999989E-3,8.2254545454545445E-3,7.539999999999999E-3,6.9599999999999992E-3,6.4628571428571417E-3,6.7946666666666659E-3,6.3699999999999989E-3,5.9952941176470587E-3,5.6622222222222213E-3,5.364210526315789E-3,5.0959999999999998E-3]
[null,3,300,260,10,3.5000000000000003E-2,1,7.1294999999999997E-2,3.5647499999999999E-2,2.3765000000000001E-2,1.8430000000000002E-2,1.4744E-2,1.3095000000000001E-2,1.1224285714285714E-2,1.0306250000000001E-2,9.1611111111111112E-3,8.2450000000000006E-3,7.6718181818181824E-3,7.0325000000000006E-3,6.4915384615384618E-3,6.027857142857143E-3,6.3373333333333337E-3,5.9412500000000004E-3,5.5917647058823534E-3,5.2811111111111114E-3,5.0031578947368422E-3,4.7530000000000003E-3]
[null,3,{"$f":"D55+40","v":120},80,1,0.04,2,7.1499999999999994E-2,3.5749999999999997E-2,2.3833333333333331E-2,1.95E-2,1.5599999999999999E-2,1.5166666666666667E-2,1.3000000000000001E-2,1.2675000000000001E-2,1.1266666666666668E-2,1.014E-2,9.6909090909090903E-3,8.8833333333333334E-3,8.199999999999999E-3,1.0585714285714285E-2,1.1786666666666666E-2,1.1049999999999999E-2,1.04E-2,9.8222222222222218E-3,9.3052631578947366E-3,8.8399999999999989E-3]
[null,3,{"$f":"D56+40","v":140},100,2,0.04,2,5.9950000000000003E-2,2.9975000000000002E-2,1.9983333333333336E-2,1.635E-2,1.3080000000000001E-2,1.2716666666666668E-2,1.09E-2,1.0627500000000002E-2,9.4466666666666657E-3,8.5020000000000009E-3,8.1254545454545451E-3,7.4483333333333337E-3,9.5584615384615382E-3,8.8757142857142854E-3,9.8826666666666663E-3,9.2649999999999989E-3,8.7199999999999986E-3,8.235555555555555E-3,7.8021052631578941E-3,7.4119999999999993E-3]
[null,3,160,120,3,0.04,2,5.1700000000000003E-2,2.5850000000000001E-2,1.7233333333333333E-2,1.4100000000000001E-2,1.1280000000000002E-2,1.0966666666666666E-2,9.4000000000000004E-3,9.1649999999999995E-3,8.1466666666666666E-3,1.034E-2,9.7418181818181813E-3,8.9300000000000004E-3,8.2430769230769241E-3,7.6542857142857142E-3,8.522666666666668E-3,7.9900000000000006E-3,7.5200000000000006E-3,7.1022222222222224E-3,6.7284210526315797E-3,6.3920000000000001E-3]
[null,3,180,140,4,0.04,2,7.2209999999999996E-2,3.6104999999999998E-2,2.4069999999999998E-2,1.9089999999999999E-2,1.5271999999999999E-2,1.4109999999999998E-2,1.2094285714285714E-2,1.1412499999999999E-2,1.0144444444444446E-2,9.1299999999999992E-3,8.601818181818181E-3,7.8849999999999996E-3,7.2784615384615375E-3,6.758571428571428E-3,7.5253333333333327E-3,7.0549999999999996E-3,6.6400000000000001E-3,6.271111111111111E-3,5.9410526315789467E-3,5.6439999999999997E-3]
[null,3,200,160,5,0.04,2,6.4380000000000007E-2,3.2190000000000003E-2,2.146E-2,1.702E-2,1.3616E-2,1.2580000000000001E-2,1.0782857142857143E-2,1.0175E-2,9.0444444444444452E-3,8.1400000000000014E-3,7.6690909090909101E-3,7.0299999999999998E-3,6.4892307692307697E-3,6.0257142857142853E-3,6.7093333333333336E-3,6.2900000000000005E-3,5.9200000000000008E-3,5.5911111111111118E-3,5.296842105263158E-3,7.2520000000000006E-3]
[null,3,220,180,6,0.04,2,5.8290000000000002E-2,2.9145000000000001E-2,1.9430000000000003E-2,1.541E-2,1.2328E-2,1.1390000000000001E-2,9.7628571428571426E-3,9.2125000000000002E-3,8.1888888888888896E-3,7.3699999999999998E-3,6.9436363636363636E-3,6.3650000000000009E-3,5.8753846153846156E-3,5.455714285714286E-3,6.0746666666666675E-3,5.6950000000000004E-3,5.3600000000000002E-3,7.2955555555555551E-3,6.9115789473684214E-3,6.5660000000000007E-3]
[null,3,240,200,7,0.04,2,5.2200000000000003E-2,2.6100000000000002E-2,1.7400000000000002E-2,1.38E-2,1.1040000000000001E-2,1.0200000000000001E-2,8.7428571428571425E-3,8.2500000000000004E-3,7.3333333333333341E-3,6.6E-3,6.2181818181818189E-3,5.7000000000000002E-3,5.2615384615384616E-3,4.8857142857142858E-3,5.4400000000000004E-3,7.3500000000000006E-3,6.9176470588235301E-3,6.5333333333333337E-3,6.1894736842105277E-3,5.8800000000000007E-3]
[null,3,260,220,8,0.04,2,8.0850000000000005E-2,4.0425000000000003E-2,2.6950000000000002E-2,2.0900000000000002E-2,1.6719999999999999E-2,1.485E-2,1.2728571428571429E-2,1.16875E-2,1.038888888888889E-2,9.3500000000000007E-3,8.6999999999999994E-3,7.9749999999999995E-3,7.361538461538461E-3,6.8357142857142861E-3,7.1866666666666659E-3,6.7375000000000004E-3,6.3411764705882355E-3,5.9888888888888891E-3,5.673684210526316E-3,5.3899999999999998E-3]
[null,3,280,240,9,0.04,2,7.4970000000000009E-2,3.7485000000000004E-2,2.4990000000000002E-2,1.9380000000000001E-2,1.5504000000000002E-2,1.3770000000000001E-2,1.1802857142857143E-2,1.08375E-2,9.633333333333334E-3,8.6700000000000006E-3,8.0672727272727285E-3,7.3950000000000005E-3,6.8261538461538464E-3,6.3385714285714287E-3,6.6639999999999998E-3,6.2475000000000004E-3,5.8799999999999998E-3,5.5533333333333337E-3,5.2610526315789476E-3,4.9980000000000007E-3]
[null,3,300,260,10,0.04,2,7.0559999999999998E-2,3.5279999999999999E-2,2.3519999999999999E-2,1.8239999999999999E-2,1.4591999999999997E-2,1.2959999999999999E-2,1.1108571428571428E-2,1.0199999999999999E-2,9.0666666666666656E-3,8.1599999999999989E-3,7.5927272727272718E-3,6.9599999999999992E-3,6.4246153846153845E-3,5.9657142857142851E-3,6.2719999999999998E-3,5.8799999999999998E-3,5.534117647058823E-3,5.2266666666666659E-3,4.9515789473684206E-3,4.7039999999999998E-3]
["Plattendicke 140 mm\n(Max. Plattenlänge 7,5 m)",4,{"$f":"D65+40","v":120},80,1,3.5000000000000003E-2,1,7.3700000000000002E-2,3.6850000000000001E-2,2.6800000000000001E-2,2.01E-2,1.8759999999999999E-2,1.5633333333333332E-2,1.4931428571428571E-2,1.3065E-2,1.1613333333333333E-2,1.0988000000000001E-2,9.9890909090909093E-3,9.1566666666666671E-3,1.4018461538461539E-2,1.3017142857142857E-2,1.2149333333333335E-2,1.1390000000000001E-2,1.072E-2,1.0124444444444445E-2,9.5915789473684215E-3,1.1925999999999999E-2]
[null,4,{"$f":"D66+40","v":140},100,2,3.5000000000000003E-2,1,6.2149999999999997E-2,3.1074999999999998E-2,2.2600000000000002E-2,1.695E-2,1.5820000000000001E-2,1.3183333333333333E-2,1.2591428571428573E-2,1.10175E-2,9.7933333333333344E-3,9.2659999999999999E-3,8.4236363636363623E-3,1.0734999999999998E-2,1.182153846153846E-2,1.0977142857142855E-2,1.0245333333333332E-2,9.604999999999999E-3,9.0399999999999994E-3,8.5377777777777761E-3,8.0884210526315781E-3,1.0057E-2]
[null,4,160,120,3,3.5000000000000003E-2,1,5.3349999999999995E-2,2.6674999999999997E-2,1.9400000000000001E-2,1.455E-2,1.358E-2,1.1316666666666666E-2,1.0808571428571428E-2,9.4575000000000006E-3,1.1855555555555557E-2,1.1058E-2,1.0052727272727272E-2,9.215000000000001E-3,1.0147692307692309E-2,9.4228571428571443E-3,8.7946666666666676E-3,8.2450000000000006E-3,7.7600000000000004E-3,7.3288888888888891E-3,6.9431578947368429E-3,8.633E-3]
[null,4,180,140,4,3.5000000000000003E-2,1,7.3079999999999992E-2,3.6539999999999996E-2,2.5759999999999998E-2,1.9319999999999997E-2,1.7135999999999998E-2,1.4279999999999998E-2,1.32E-2,1.155E-2,1.0266666666666667E-2,9.5759999999999994E-3,8.705454545454544E-3,7.9799999999999992E-3,8.7876923076923071E-3,8.1599999999999989E-3,7.6159999999999995E-3,7.1399999999999996E-3,6.7199999999999994E-3,6.3466666666666663E-3,6.0126315789473684E-3,7.476E-3]
[null,4,200,160,5,3.5000000000000003E-2,1,6.5250000000000002E-2,3.2625000000000001E-2,2.2999999999999996E-2,1.7249999999999998E-2,1.5299999999999998E-2,1.2749999999999997E-2,1.1785714285714285E-2,1.0312499999999999E-2,9.1666666666666667E-3,8.5499999999999986E-3,7.7727272727272723E-3,7.1249999999999994E-3,7.8461538461538465E-3,7.2857142857142851E-3,6.7999999999999996E-3,6.3749999999999996E-3,5.9999999999999993E-3,5.6666666666666662E-3,7.7368421052631583E-3,8.9249999999999989E-3]
[null,4,220,180,6,3.5000000000000003E-2,1,5.9159999999999997E-2,2.9579999999999999E-2,2.0853333333333331E-2,1.5639999999999998E-2,1.3871999999999999E-2,1.1559999999999999E-2,1.0685714285714284E-2,9.3499999999999989E-3,8.3111111111111111E-3,7.7519999999999993E-3,7.0472727272727267E-3,6.4599999999999996E-3,7.1138461538461529E-3,6.6057142857142851E-3,6.1653333333333326E-3,8.3300000000000006E-3,7.8399999999999997E-3,7.4044444444444444E-3,7.0147368421052628E-3,8.0919999999999985E-3]
[null,4,240,200,7,3.5000000000000003E-2,1,5.3070000000000006E-2,2.6535000000000003E-2,1.8706666666666667E-2,1.4030000000000001E-2,1.2444000000000002E-2,1.0370000000000001E-2,9.585714285714286E-3,8.3875000000000009E-3,7.4555555555555555E-3,6.9540000000000001E-3,6.3218181818181819E-3,5.7949999999999998E-3,6.3815384615384619E-3,5.9257142857142859E-3,7.9706666666666676E-3,7.4725000000000008E-3,7.032941176470589E-3,6.642222222222223E-3,6.2926315789473691E-3,7.2590000000000007E-3]
[null,4,260,220,8,3.5000000000000003E-2,1,8.2320000000000004E-2,4.1160000000000002E-2,2.8373333333333334E-2,2.128E-2,1.8144E-2,1.5120000000000001E-2,1.3600000000000001E-2,1.1900000000000001E-2,1.057777777777778E-2,9.7440000000000009E-3,8.8581818181818189E-3,8.1200000000000005E-3,8.4430769230769247E-3,7.8399999999999997E-3,7.3173333333333337E-3,6.8599999999999998E-3,6.4564705882352944E-3,6.0977777777777784E-3,5.7768421052631583E-3,6.6640000000000007E-3]
[null,4,280,240,9,3.5000000000000003E-2,1,7.6439999999999994E-2,3.8219999999999997E-2,2.6346666666666664E-2,1.976E-2,1.6847999999999998E-2,1.4039999999999999E-2,1.2628571428571427E-2,1.1049999999999999E-2,9.8222222222222218E-3,9.0479999999999988E-3,8.2254545454545445E-3,7.539999999999999E-3,7.8399999999999997E-3,7.2799999999999983E-3,6.7946666666666659E-3,6.3699999999999989E-3,5.9952941176470587E-3,5.6622222222222213E-3,5.364210526315789E-3,6.1879999999999999E-3]
[null,4,300,260,10,3.5000000000000003E-2,1,7.1294999999999997E-2,3.5647499999999999E-2,2.4573333333333336E-2,1.8430000000000002E-2,1.5713999999999999E-2,1.3095000000000001E-2,1.177857142857143E-2,1.0306250000000001E-2,9.1611111111111112E-3,8.4390000000000003E-3,7.6718181818181824E-3,7.0325000000000006E-3,7.3123076923076926E-3,6.7900000000000009E-3,6.3373333333333337E-3,5.9412500000000004E-3,5.5917647058823534E-3,5.2811111111111114E-3,5.0031578947368422E-3,5.7715000000000006E-3]
[null,4,{"$f":"D75+40","v":120},80,1,0.04,2,7.1499999999999994E-2,3.5749999999999997E-2,2.6000000000000002E-2,1.95E-2,1.8200000000000001E-2,1.5166666666666667E-2,1.4485714285714286E-2,1.2675000000000001E-2,1.1266666666666668E-2,1.0659999999999999E-2,9.6909090909090903E-3,8.8833333333333334E-3,1.3599999999999999E-2,1.2628571428571428E-2,1.1786666666666666E-2,1.1049999999999999E-2,1.04E-2,9.8222222222222218E-3,9.3052631578947366E-3,1.1569999999999999E-2]
[null,4,{"$f":"D76+40","v":140},100,2,0.04,2,5.9950000000000003E-2,2.9975000000000002E-2,2.18E-2,1.635E-2,1.5259999999999999E-2,1.2716666666666668E-2,1.2145714285714286E-2,1.0627500000000002E-2,9.4466666666666657E-3,8.9379999999999998E-3,8.1254545454545451E-3,1.0355E-2,1.1403076923076922E-2,1.0588571428571428E-2,9.8826666666666663E-3,9.2649999999999989E-3,8.7199999999999986E-3,8.235555555555555E-3,7.8021052631578941E-3,9.7009999999999996E-3]
[null,4,160,120,3,0.04,2,5.1700000000000003E-2,2.5850000000000001E-2,1.8800000000000001E-2,1.4100000000000001E-2,1.3160000000000002E-2,1.0966666666666666E-2,1.0474285714285714E-2,9.1649999999999995E-3,1.1488888888888889E-2,1.0716E-2,9.7418181818181813E-3,8.9300000000000004E-3,9.8338461538461548E-3,9.1314285714285716E-3,8.522666666666668E-3,7.9900000000000006E-3,7.5200000000000006E-3,7.1022222222222224E-3,6.7284210526315797E-3,8.3660000000000002E-3]
[null,4,180,140,4,0.04,2,7.2209999999999996E-2,3.6104999999999998E-2,2.5453333333333331E-2,1.9089999999999999E-2,1.6931999999999999E-2,1.4109999999999998E-2,1.3042857142857142E-2,1.1412499999999999E-2,1.0144444444444446E-2,9.4619999999999999E-3,8.601818181818181E-3,7.8849999999999996E-3,8.6830769230769218E-3,8.0628571428571424E-3,7.5253333333333327E-3,7.0549999999999996E-3,6.6400000000000001E-3,6.271111111111111E-3,5.9410526315789467E-3,7.3870000000000003E-3]
[null,4,200,160,5,0.04,2,6.4380000000000007E-2,3.2190000000000003E-2,2.2693333333333336E-2,1.702E-2,1.5096E-2,1.2580000000000001E-2,1.1628571428571429E-2,1.0175E-2,9.0444444444444452E-3,8.4359999999999991E-3,7.6690909090909101E-3,7.0299999999999998E-3,7.741538461538462E-3,7.1885714285714287E-3,6.7093333333333336E-3,6.2900000000000005E-3,5.9200000000000008E-3,5.5911111111111118E-3,7.6336842105263168E-3,8.8060000000000013E-3]
[null,4,220,180,6,0.04,2,5.8290000000000002E-2,2.9145000000000001E-2,2.0546666666666668E-2,1.541E-2,1.3668E-2,1.1390000000000001E-2,1.0528571428571429E-2,9.2125000000000002E-3,8.1888888888888896E-3,7.6380000000000007E-3,6.9436363636363636E-3,6.3650000000000009E-3,7.0092307692307693E-3,6.5085714285714287E-3,6.0746666666666675E-3,8.2074999999999995E-3,7.7247058823529417E-3,7.2955555555555551E-3,6.9115789473684214E-3,7.9730000000000009E-3]
[null,4,240,200,7,0.04,2,5.2200000000000003E-2,2.6100000000000002E-2,1.84E-2,1.38E-2,1.2240000000000001E-2,1.0200000000000001E-2,9.4285714285714285E-3,8.2500000000000004E-3,7.3333333333333341E-3,6.8400000000000006E-3,6.2181818181818189E-3,5.7000000000000002E-3,6.2769230769230775E-3,5.8285714285714286E-3,7.8399999999999997E-3,7.3500000000000006E-3,6.9176470588235301E-3,6.5333333333333337E-3,6.1894736842105277E-3,7.1400000000000005E-3]
[null,4,260,220,8,0.04,2,8.0850000000000005E-2,4.0425000000000003E-2,2.7866666666666665E-2,2.0900000000000002E-2,1.7819999999999999E-2,1.485E-2,1.3357142857142859E-2,1.16875E-2,1.038888888888889E-2,9.5700000000000004E-3,8.6999999999999994E-3,7.9749999999999995E-3,8.2923076923076926E-3,7.7000000000000002E-3,7.1866666666666659E-3,6.7375000000000004E-3,6.3411764705882355E-3,5.9888888888888891E-3,5.673684210526316E-3,6.5450000000000005E-3]
[null,4,280,240,9,0.04,2,7.4970000000000009E-2,3.7485000000000004E-2,2.5840000000000002E-2,1.9380000000000001E-2,1.6524E-2,1.3770000000000001E-2,1.2385714285714286E-2,1.08375E-2,9.633333333333334E-3,8.8739999999999999E-3,8.0672727272727285E-3,7.3950000000000005E-3,7.6892307692307694E-3,7.1400000000000005E-3,6.6639999999999998E-3,6.2475000000000004E-3,5.8799999999999998E-3,5.5533333333333337E-3,5.2610526315789476E-3,6.0690000000000006E-3]
[null,4,300,260,10,0.04,2,7.0559999999999998E-2,3.5279999999999999E-2,2.4319999999999998E-2,1.8239999999999999E-2,1.5551999999999998E-2,1.2959999999999999E-2,1.1657142857142856E-2,1.0199999999999999E-2,9.0666666666666656E-3,8.3519999999999983E-3,7.5927272727272718E-3,6.9599999999999992E-3,7.2369230769230766E-3,6.7199999999999994E-3,6.2719999999999998E-3,5.8799999999999998E-3,5.534117647058823E-3,5.2266666666666659E-3,4.9515789473684206E-3,5.7119999999999992E-3]
["Plattendicke 160 mm\n(Max. Plattenlänge 8,0 m)",5,{"$f":"D85+40","v":120},80,1,3.5000000000000003E-2,1,7.3700000000000002E-2,3.6850000000000001E-2,2.6800000000000001E-2,2.01E-2,1.8759999999999999E-2,1.7420000000000001E-2,1.4931428571428571E-2,1.3065E-2,1.2208888888888889E-2,1.0988000000000001E-2,9.9890909090909093E-3,1.5186666666666668E-2,1.4018461538461539E-2,1.3017142857142857E-2,1.2149333333333335E-2,1.1390000000000001E-2,1.072E-2,1.3251111111111113E-2,1.2553684210526316E-2,1.1925999999999999E-2]
[null,5,{"$f":"D86+40","v":140},100,2,3.5000000000000003E-2,1,6.2149999999999997E-2,3.1074999999999998E-2,2.2600000000000002E-2,1.695E-2,1.5820000000000001E-2,1.4690000000000002E-2,1.2591428571428573E-2,1.10175E-2,1.0295555555555554E-2,9.2659999999999999E-3,1.171090909090909E-2,1.2806666666666666E-2,1.182153846153846E-2,1.0977142857142855E-2,1.0245333333333332E-2,9.604999999999999E-3,9.0399999999999994E-3,1.1174444444444443E-2,1.0586315789473683E-2,1.0057E-2]
[null,5,160,120,3,3.5000000000000003E-2,1,5.3349999999999995E-2,2.6674999999999997E-2,1.9400000000000001E-2,1.455E-2,1.358E-2,1.261E-2,1.0808571428571428E-2,9.4575000000000006E-3,8.8377777777777777E-3,1.1058E-2,1.0052727272727272E-2,1.0993333333333334E-2,1.0147692307692309E-2,9.4228571428571443E-3,8.7946666666666676E-3,8.2450000000000006E-3,7.7600000000000004E-3,9.5922222222222225E-3,9.0873684210526322E-3,8.633E-3]
[null,5,180,140,4,3.5000000000000003E-2,1,7.3079999999999992E-2,3.6539999999999996E-2,2.5759999999999998E-2,1.9319999999999997E-2,1.7135999999999998E-2,1.5399999999999999E-2,1.32E-2,1.155E-2,1.064E-2,9.5759999999999994E-3,8.705454545454544E-3,9.5199999999999989E-3,8.7876923076923071E-3,8.1599999999999989E-3,7.6159999999999995E-3,7.1399999999999996E-3,6.7199999999999994E-3,8.3066666666666671E-3,7.8694736842105269E-3,7.476E-3]
[null,5,200,160,5,3.5000000000000003E-2,1,6.5250000000000002E-2,3.2625000000000001E-2,2.2999999999999996E-2,1.7249999999999998E-2,1.5299999999999998E-2,1.3749999999999998E-2,1.1785714285714285E-2,1.0312499999999999E-2,9.499999999999998E-3,8.5499999999999986E-3,7.7727272727272723E-3,8.4999999999999989E-3,7.8461538461538465E-3,7.2857142857142851E-3,6.7999999999999996E-3,6.3749999999999996E-3,5.9999999999999993E-3,7.4166666666666652E-3,9.394736842105263E-3,8.9249999999999989E-3]
[null,5,220,180,6,3.5000000000000003E-2,1,5.9159999999999997E-2,2.9579999999999999E-2,2.0853333333333331E-2,1.5639999999999998E-2,1.3871999999999999E-2,1.2466666666666666E-2,1.0685714285714284E-2,9.3499999999999989E-3,8.6133333333333322E-3,7.7519999999999993E-3,7.0472727272727267E-3,7.7066666666666664E-3,7.1138461538461529E-3,6.6057142857142851E-3,8.8853333333333336E-3,8.3300000000000006E-3,7.8399999999999997E-3,8.9911111111111094E-3,8.5178947368421062E-3,8.0919999999999985E-3]
[null,5,240,200,7,3.5000000000000003E-2,1,5.3070000000000006E-2,2.6535000000000003E-2,1.8706666666666667E-2,1.4030000000000001E-2,1.2444000000000002E-2,1.1183333333333333E-2,9.585714285714286E-3,8.3875000000000009E-3,7.7266666666666664E-3,6.9540000000000001E-3,6.3218181818181819E-3,6.9133333333333338E-3,6.3815384615384619E-3,8.5400000000000007E-3,7.9706666666666676E-3,7.4725000000000008E-3,7.032941176470589E-3,8.0655555555555567E-3,7.6410526315789477E-3,7.2590000000000007E-3]
[null,5,260,220,8,3.5000000000000003E-2,1,8.2320000000000004E-2,4.1160000000000002E-2,2.8373333333333334E-2,2.128E-2,1.8144E-2,1.5866666666666668E-2,1.3600000000000001E-2,1.1900000000000001E-2,1.0826666666666668E-2,9.7440000000000009E-3,8.8581818181818189E-3,9.1466666666666675E-3,8.4430769230769247E-3,7.8399999999999997E-3,7.3173333333333337E-3,6.8599999999999998E-3,6.4564705882352944E-3,7.4044444444444453E-3,7.0147368421052637E-3,6.6640000000000007E-3]
[null,5,280,240,9,3.5000000000000003E-2,1,7.6439999999999994E-2,3.8219999999999997E-2,2.6346666666666664E-2,1.976E-2,1.6847999999999998E-2,1.4733333333333331E-2,1.2628571428571427E-2,1.1049999999999999E-2,1.0053333333333333E-2,9.0479999999999988E-3,8.2254545454545445E-3,8.4933333333333319E-3,7.8399999999999997E-3,7.2799999999999983E-3,6.7946666666666659E-3,6.3699999999999989E-3,5.9952941176470587E-3,6.8755555555555549E-3,6.5136842105263156E-3,6.1879999999999999E-3]
[null,5,300,260,10,3.5000000000000003E-2,1,7.1294999999999997E-2,3.5647499999999999E-2,2.4573333333333336E-2,1.8430000000000002E-2,1.5713999999999999E-2,1.3741666666666668E-2,1.177857142857143E-2,1.0306250000000001E-2,9.3766666666666668E-3,8.4390000000000003E-3,7.6718181818181824E-3,7.9216666666666671E-3,7.3123076923076926E-3,6.7900000000000009E-3,6.3373333333333337E-3,5.9412500000000004E-3,5.5917647058823534E-3,6.4127777777777777E-3,6.0752631578947364E-3,5.7715000000000006E-3]
[null,5,{"$f":"D95+40","v":120},80,1,0.04,2,7.1499999999999994E-2,3.5749999999999997E-2,2.6000000000000002E-2,1.95E-2,1.8200000000000001E-2,1.6900000000000002E-2,1.4485714285714286E-2,1.2675000000000001E-2,1.1844444444444442E-2,1.0659999999999999E-2,9.6909090909090903E-3,1.4733333333333333E-2,1.3599999999999999E-2,1.2628571428571428E-2,1.1786666666666666E-2,1.1049999999999999E-2,1.04E-2,1.2855555555555554E-2,1.2178947368421053E-2,1.1569999999999999E-2]
[null,5,{"$f":"D96+40","v":140},100,2,0.04,2,5.9950000000000003E-2,2.9975000000000002E-2,2.18E-2,1.635E-2,1.5259999999999999E-2,1.4170000000000002E-2,1.2145714285714286E-2,1.0627500000000002E-2,9.931111111111111E-3,8.9379999999999998E-3,1.1296363636363636E-2,1.2353333333333332E-2,1.1403076923076922E-2,1.0588571428571428E-2,9.8826666666666663E-3,9.2649999999999989E-3,8.7199999999999986E-3,1.077888888888889E-2,1.021157894736842E-2,9.7009999999999996E-3]
[null,5,160,120,3,0.04,2,5.1700000000000003E-2,2.5850000000000001E-2,1.8800000000000001E-2,1.4100000000000001E-2,1.3160000000000002E-2,1.222E-2,1.0474285714285714E-2,9.1649999999999995E-3,8.564444444444444E-3,1.0716E-2,9.7418181818181813E-3,1.0653333333333334E-2,9.8338461538461548E-3,9.1314285714285716E-3,8.522666666666668E-3,7.9900000000000006E-3,7.5200000000000006E-3,9.2955555555555552E-3,8.8063157894736847E-3,8.3660000000000002E-3]
[null,5,180,140,4,0.04,2,7.2209999999999996E-2,3.6104999999999998E-2,2.5453333333333331E-2,1.9089999999999999E-2,1.6931999999999999E-2,1.5216666666666667E-2,1.3042857142857142E-2,1.1412499999999999E-2,1.0513333333333333E-2,9.4619999999999999E-3,8.601818181818181E-3,9.4066666666666656E-3,8.6830769230769218E-3,8.0628571428571424E-3,7.5253333333333327E-3,7.0549999999999996E-3,6.6400000000000001E-3,8.2077777777777791E-3,7.7757894736842099E-3,7.3870000000000003E-3]
[null,5,200,160,5,0.04,2,6.4380000000000007E-2,3.2190000000000003E-2,2.2693333333333336E-2,1.702E-2,1.5096E-2,1.3566666666666668E-2,1.1628571428571429E-2,1.0175E-2,9.3733333333333342E-3,8.4359999999999991E-3,7.6690909090909101E-3,8.3866666666666673E-3,7.741538461538462E-3,7.1885714285714287E-3,6.7093333333333336E-3,6.2900000000000005E-3,5.9200000000000008E-3,7.3177777777777789E-3,9.2694736842105271E-3,8.8060000000000013E-3]
[null,5,220,180,6,0.04,2,5.8290000000000002E-2,2.9145000000000001E-2,2.0546666666666668E-2,1.541E-2,1.3668E-2,1.2283333333333334E-2,1.0528571428571429E-2,9.2125000000000002E-3,8.4866666666666667E-3,7.6380000000000007E-3,6.9436363636363636E-3,7.5933333333333339E-3,7.0092307692307693E-3,6.5085714285714287E-3,8.7546666666666675E-3,8.2074999999999995E-3,7.7247058823529417E-3,8.8588888888888884E-3,8.3926315789473686E-3,7.9730000000000009E-3]
[null,5,240,200,7,0.04,2,5.2200000000000003E-2,2.6100000000000002E-2,1.84E-2,1.38E-2,1.2240000000000001E-2,1.0999999999999999E-2,9.4285714285714285E-3,8.2500000000000004E-3,7.6000000000000009E-3,6.8400000000000006E-3,6.2181818181818189E-3,6.8000000000000005E-3,6.2769230769230775E-3,8.4000000000000012E-3,7.8399999999999997E-3,7.3500000000000006E-3,6.9176470588235301E-3,7.9333333333333339E-3,7.5157894736842118E-3,7.1400000000000005E-3]
[null,5,260,220,8,0.04,2,8.0850000000000005E-2,4.0425000000000003E-2,2.7866666666666665E-2,2.0900000000000002E-2,1.7819999999999999E-2,1.5583333333333333E-2,1.3357142857142859E-2,1.16875E-2,1.0633333333333335E-2,9.5700000000000004E-3,8.6999999999999994E-3,8.9833333333333328E-3,8.2923076923076926E-3,7.7000000000000002E-3,7.1866666666666659E-3,6.7375000000000004E-3,6.3411764705882355E-3,7.2722222222222233E-3,6.8894736842105269E-3,6.5450000000000005E-3]
[null,5,280,240,9,0.04,2,7.4970000000000009E-2,3.7485000000000004E-2,2.5840000000000002E-2,1.9380000000000001E-2,1.6524E-2,1.4450000000000001E-2,1.2385714285714286E-2,1.08375E-2,9.8600000000000007E-3,8.8739999999999999E-3,8.0672727272727285E-3,8.3300000000000006E-3,7.6892307692307694E-3,7.1400000000000005E-3,6.6639999999999998E-3,6.2475000000000004E-3,5.8799999999999998E-3,6.7433333333333338E-3,6.3884210526315797E-3,6.0690000000000006E-3]
[null,5,300,260,10,0.04,2,7.0559999999999998E-2,3.5279999999999999E-2,2.4319999999999998E-2,1.8239999999999999E-2,1.5551999999999998E-2,1.3599999999999999E-2,1.1657142857142856E-2,1.0199999999999999E-2,9.2799999999999983E-3,8.3519999999999983E-3,7.5927272727272718E-3,7.8399999999999997E-3,7.2369230769230766E-3,6.7199999999999994E-3,6.2719999999999998E-3,5.8799999999999998E-3,5.534117647058823E-3,6.3466666666666654E-3,6.0126315789473684E-3,5.7119999999999992E-3]
[null,null,null,null,null,null,null,{"$f":"INDEX($H$5:$AA$104,$I$107-4,1)","v":7.3079999999999992E-2},{"$f":"INDEX($H$5:$AA$104,$I$107-4,2)","v":3.6539999999999996E-2},{"$f":"INDEX($H$5:$AA$104,$I$107-4,3)","v":2.4359999999999996E-2},{"$f":"INDEX($H$5:$AA$104,$I$107-4,4)","v":1.8269999999999998E-2},{"$f":"INDEX($H$5:$AA$104,$I$107-4,5)","v":1.4616000000000001E-2},{"$f":"INDEX($H$5:$AA$104,$I$107-4,6)","v":1.2879999999999999E-2},{"$f":"INDEX($H$5:$AA$104,$I$107-4,7)","v":1.1039999999999998E-2},{"$f":"INDEX($H$5:$AA$104,$I$107-4,8)","v":9.6599999999999984E-3},{"$f":"INDEX($H$5:$AA$104,$I$107-4,9)","v":9.5199999999999989E-3},{"$f":"INDEX($H$5:$AA$104,$I$107-4,10)","v":8.5679999999999992E-3},{"$f":"INDEX($H$5:$AA$104,$I$107-4,11)","v":7.7890909090909087E-3},{"$f":"INDEX($H$5:$AA$104,$I$107-4,12)","v":7.6999999999999994E-3},{"$f":"INDEX($H$5:$AA$104,$I$107-4,13)","v":7.1076923076923079E-3},{"$f":"INDEX($H$5:$AA$104,$I$107-4,14)","v":6.6E-3},{"$f":"INDEX($H$5:$AA$104,$I$107-4,15)","v":6.1599999999999997E-3},{"$f":"INDEX($H$5:$AA$104,$I$107-4,16)","v":5.7749999999999998E-3},{"$f":"INDEX($H$5:$AA$104,$I$107-4,17)","v":1E-4},{"$f":"INDEX($H$5:$AA$104,$I$107-4,18)","v":1E-4},{"$f":"INDEX($H$5:$AA$104,$I$107-4,19)","v":1E-4},{"$f":"INDEX($H$5:$AA$104,$I$107-4,20)","v":1E-4}]
[]
[null,null,"Dämmstärke","WLG",null,"Plattendicke",null,null,{"$f":"_xlfn.AGGREGATE(15,6,ROW(B5:B104)/((B5:B104=F113)*(C118=E5:E104)*(D110=G5:G104)),1)","v":8}]
[null,1,80,3.5000000000000003E-2,null,80,null,null,{"$f":"_xlfn.AGGREGATE(15,6,COLUMN(H4:AA4)/(C140<=H4:AA4),1)","v":19}]
[null,2,100,0.04,null,100,null,null,{"$f":"INDEX(H5:AA104,I107-4,I108-7)","v":7.6999999999999994E-3}]
[null,3,120,1,null,120]
[null,4,140,null,null,140]
[null,5,160,null,null,160]
[null,6,180,null,null,1]
[null,7,200]
[null,8,220]
[null,9,240]
[null,10,260]
[null,null,4]
[]
[null,null,1]
[null,null,2]
[null,null,3]
[null,null,4]
[null,null,5]
[null,null,6]
[null,null,7]
[null,null,8]
[null,null,9]
[null,null,10]
[null,null,11]
[null,null,12]
[null,null,13]
[null,null,14]
[null,null,15]
[null,null,16]
[null,null,17]
[null,null,18]
[null,null,19]
[null,null,20]
[null,null,12]